## Model 1006_1007
Part Number | Type | Lock | Application | Life Safety Exit | Access Control | Combination Lock Anti-Spinoff
2890-512 | Type I | S&G 2740B | Office | Lever | Stand Alone Keypad | Key Cam Lock
2890-513 | Type I | X-10 | Office | Lever | Stand Alone Keypad | Key Cam Lock
2890-522 | Type II | S&G 2740B | Office | Lever | Network Connected | Key Cam Lock
2890-523 | Type II | X-10 | Office | Lever | Network Connected | Key Cam Lock
2890-532 | Type III | S&G 2740B | Conference Room | Panic Bar | Stand Alone Keypad | Key Cam Lock
2890-533 | Type III | X-10 | Conference Room | Panic Bar | Stand Alone Keypad | Key Cam Lock
2890-542 | Type IV | S&G 2740B | Conference Room | Panic Bar | Network Connected | Key Cam Lock
2890-543 | Type IV | X-10 | Conference Room | Panic Bar | Network Connected | Key Cam Lock
2890-552 | Type V | S&G 2740B | Storage Closet | Lever | N/A | Key Cam Lock
2890-553 | Type V | X-10 | Storage Closet | Lever | N/A | Key Cam Lock
2890-562 | Type VI | S&G 2740B | Storage Closet | Lever | N/A | Keyless Thumbturn
2890-563 | Type VI | X-10 | Storage Closet | Lever | N/A | Keyless Thumbturn
Parts and Accessories
Part Number | Description |  |  | Notes
2890-601 | Strike #1 Assembly Kit |  |  | Morticed strike plate for use with in-swing doors
2890-602 | Strike #2 Assembly Kit |  |  | For use with most out-swing doors
2890-603 | Strike #3 Assembly Kit |  |  | Inside frame mounted strike plate for in-swing doors
2890-609 | Strike #9 Assembly Kit |  |  | For use with many double-doors
2890-614 | Thick Door Spacers (2.00"-2.75") |  |  | Allows installation on doors thicker than 2"
2890-615 | Thick Door Spacers (2.75"-3.5") |  |  | Allows installation on doors thicker than 2"
2890-636 | Electronic Access Control Retrofit Kit |  |  | Includes all parts to add electronic access function
2890-640 | Alarm Integration Kit |  |  | Includes sensors, cables, and mounting hardware to monitor lock status
2890-641 | Alarm Integration Kit with Dial Rotation |  |  | Includes sensors, cables, and mounting hardware to monitor lock status, including all dial rotation